## Slide 1
Design
Module Exists
Impact Analysis
New Module
User Inputs needed or data to be read from a source file
Scope to include multiple requirements
Not Feasible
Reason for Non-Feasibility
Suggestions to move to feasibility, if applicable
Effort Estimate for changes
Need of additional resources

## Slide 2
Hardware Interface Layer (Relays, Pneumatic Actuators, Transducers, Measurements )
Communication Protocol/ LabVIEW DAQmx drivers
Test system Tool
Digital Outputs
Digital Inputs
Analog Input/ Output
Test Configurations
Test
Monitoring
Test Data
Logging
Reporting
LiveVIEW Webservices